

**RESPONSE TO DESSA RFP CLARIFIATION REQUEST**

|  |  |  |
| --- | --- | --- |
|  | **CLARIFICATIONS** | **AEDC RESPONSE** |
| 1 | Please confirm that the design required at this stage is a concept design. FEED and DED to be carried out after the award of contract | Yes |
| 2 | Please confirm that the transformer mentioned in the ITT document is to replace existing/dilapidated one and not part of the new design | Yes |
| 3 | Please clarify that we are designing for 651KWp for the peak demand of 469KW, the backup is either 400KW Diesel Engine Generator or Gas Engine Generator | Yes. However, solution should be scalable to cater for variation or increase in demand. |
| 4 | Please clarify if we will only submit technical (stage -2 ) only or we are submitting both technical and financial (stage-3). If we are submitting both, are we submitting both in one envelope | Stage 2 and Stage 3 submissions are expected and can be in one envelope. |
| 5 | Please clarify if we can submit proposal for Park road commercial street only | Yes – developers can submit proposals for any of the projects that is of interest or for both. |
| 6 | Please resend the supplier that are considered for sources of materials and equipment's. | Please see attached. |
| 7 | Please clarify if we will be responsible for re-installation and re-cable ling of the transformer mention in the RFP | Technical work at the identified site is the developer responsibility. However, AEDC is very open to collaborate and provide requisite support needed |
| 8 | Please clarify, if NEMSA will be certifying the installation on completion of installation, so as to factor in the cost of certification by NEMSA. | This is a regulatory expectation. Therefore, NEMSA will be involved at some point. |