## APR. 30
NON COMPLIANCE RECORDS AS OF 1ST MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30
132KV APO T/S_33KV FDR H23_PL_PL | AIRPORT | NICOMSAT, KOREAN SCHOOL, NNAMDI AZIKIWE INT'L AIRPORT, DUNAMIS CHURCH, SHOPRITE | 9 | 17
132KV APO T/S_33KV FDR H5_R6_4A | ASOKORO | QUEEN ELIZABETH STREET, TITO BROS, LOIUS EDET HOUSE, COMMISSIONERS QTRS,FIRE SERVICE,WOMEN AFFAIRS, NIGER HOUSE, NCCE, JIMMY CARTER, MALCOLM FRAZER STREET, WINSTON CHURCHILL STREET, BON & STRATTON, HOS, CHIEF JUSTICE OF THE FEDERATION | 15 | 18
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD27 | ASOKORO | SGF | 12 | 0
132KV KUKWABA T/S_33KV FDR L33_S25_EYE CLINIC | LOKOGOMA | EYE CLINIC | 0 | 10
132KV KUKWABA T/S_33KV FDR L33_S25_GV | LOKOGOMA | GAMES VILLAGE | 0 | 10
132KV KUKWABA T/S_33KV FDR L33_S25_INDOOR | LOKOGOMA | INDOOR COMPLEX | 0 | 10
132KV KUKWABA T/S_33KV FDR L33_S25_STADIUM MAIN | LOKOGOMA | MKO ABIOLA STADIUM | 0 | 10
132KV CENTRAL AREA T/S_33KV FDR 5_G2_7A | GARKI 1 | FIRE SERVICE, POLICE FORCE CID, GATE WAY PLAZA, AFRI HOTEL & REVENUE MOBILIZATION | 10 | 16

## MAY 01
NON COMPLIANCE RECORDS AS OF 2ND MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30 | 2024-05-01
132KV APO T/S_33KV FDR H23_PL_PL | AIRPORT | NICOMSAT, KOREAN SCHOOL, NNAMDI AZIKIWE INT'L AIRPORT, DUNAMIS CHURCH, SHOPRITE | 9 | 17 | 8
132KV APO T/S_33KV FDR H5_R6_4A | ASOKORO | QUEEN ELIZABETH STREET, TITO BROS, LOIUS EDET HOUSE, COMMISSIONERS QTRS,FIRE SERVICE,WOMEN AFFAIRS, NIGER HOUSE, NCCE, JIMMY CARTER, MALCOLM FRAZER STREET, WINSTON CHURCHILL STREET, BON & STRATTON, HOS, CHIEF JUSTICE OF THE FEDERATION | 15 | 18 | 17
132KV CENTRAL AREA T/S_33KV FDR 5_ICC_FD2 | GARKI | INTERNATIONAL CONFERENCE CENTRE | 20 | 19 | 15
132KV APO T/S_33KV FDR H1_G25_FD2 | GARKI 1 | NAN, BOLINGO HOTEL, NAIC, ELIZADE & NBA | 23 | 16 | 12
132KV CENTRAL AREA T/S_33KV FDR 5_G2_7A | GARKI 1 | FIRE SERVICE, POLICE FORCE CID, GATE WAY PLAZA, AFRI HOTEL & REVENUE MOBILIZATION | 10 | 16 | 15
132KV CENTRAL AREA T/S_33KV FDR 5_G2_8B | GARKI 1 | DEFENCE HQ | 20 | 19 | 15

## MAY 02
NON COMPLIANCE RECORDS AS OF 3RD MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30 | 2024-05-01 | 2024-05-02
132KV APO T/S_33KV FDR H1_G25_FD2 | GARKI 1 | NAN, BOLINGO HOTEL, NAIC, ELIZADE & NBA | 23 | 16 | 12 | 18

## MAY 03
NON COMPLIANCE RECORDS AS OF 4TH MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30 | 2024-05-01 | 2024-05-02 | 2024-05-03
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD27 | ASOKORO | SGF | 12 | 0 | 24 | 0 | 6
132KV GIS DAWAKI T/S_33KV FDR D2_M42_K14 | GWARINPA | PART OF 5TH AVENUE, FOREIGN AFFAIRS QUARTERS, DIAMOND BANK, KEYSTONE BANK, ZENITH BANK, 3RD AVENUE CORNERSHOP, PRIMARY SCHOOL, MIB PLAZA, ANGLICAN CHURCH ON 3RD AVENUE | 22 | 15 | 24 | 18 | 13
132KV GIS DAWAKI T/S_33KV FDR D2_M43_SETRACO | GWARINPA | 4TH AVENUE, PART OF 2ND AVENUE, SETRACO GATE AND ENVIRONS | 13 | 20 | 24 | 18 | 11
132KV SULEJA T/S_33KV FIELD BASE FDR_FIELDBASE_SULEJA SMART FDR | SULEJA | GLOBAL BLOCK INDUSTRY, AHMIS, U.I DANDADA,MTN MAST, OPARA S/S, BLESSED IKD | 23 | 22 | 24 | 17 | 15

## MAY 04
NON COMPLIANCE RECORDS AS OF 5TH MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30 | 2024-05-01 | 2024-05-02 | 2024-05-03 | 2024-05-04
132KV GIS DAWAKI T/S_33KV FDR D2_M42_K14 | GWARINPA | PART OF 5TH AVENUE, FOREIGN AFFAIRS QUARTERS, DIAMOND BANK, KEYSTONE BANK, ZENITH BANK, 3RD AVENUE CORNERSHOP, PRIMARY SCHOOL, MIB PLAZA, ANGLICAN CHURCH ON 3RD AVENUE | 22 | 15 | 24 | 18 | 13 | 16

## MAY 05
NON COMPLIANCE RECORDS AS OF 6TH MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  | 2024-04-29 | 2024-04-30 | 2024-05-01 | 2024-05-02 | 2024-05-03 | 2024-05-04 | 2024-05-05
132KV GIS DAWAKI T/S_33KV FDR D2_M42_K14 | GWARINPA | PART OF 5TH AVENUE, FOREIGN AFFAIRS QUARTERS, DIAMOND BANK, KEYSTONE BANK, ZENITH BANK, 3RD AVENUE CORNERSHOP, PRIMARY SCHOOL, MIB PLAZA, ANGLICAN CHURCH ON 3RD AVENUE | 22 | 15 | 24 | 18 | 13 | 16 | 17

## MAY 06
DAILY AND PAST 7 DAYS SUMMARY OF BAND A FEEDER FOR NON COMPLIANCE RECORDS AS OF 6TH MAY 2024
Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder
|  |  | 2024-05-01 | 2024-05-02 | 2024-05-03 | 2024-05-04 | 2024-05-05 | 2024-05-06 | REASON | Est. Resolution Time
132KV APO T/S_33KV FDR H23_PL_PL | AIRPORT | NICOMSAT, KOREAN SCHOOL, NNAMDI AZIKIWE INT'L AIRPORT, DUNAMIS CHURCH, SHOPRITE | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR H5_R2_FD10 | ASOKORO | ECOWAS | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R2_FD6 | ASOKORO | WORLD BANK AND SENATOR OBIORA | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R3_2A | ASOKORO | NIA | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R3_4A | ASOKORO | DE-WELLS CARLTON APARTMENT | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R6_4A | ASOKORO | QUEEN ELIZABETH STREET, TITO BROS, LOIUS EDET HOUSE, COMMISSIONERS QTRS,FIRE SERVICE,WOMEN AFFAIRS, NIGER HOUSE, NCCE, JIMMY CARTER, MALCOLM FRAZER STREET, WINSTON CHURCHILL STREET, BON & STRATTON, HOS, CHIEF JUSTICE OF THE FEDERATION | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR H5_R3_3B | ASOKORO | YAKUBU GOWON CREST, KANO, SOKOTO, IMO GOVT LODGE, SPDC QTRS, GADO NASKO STREET & PART OF JOSE MARTINS | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR H5_R6_2B | ASOKORO | ALI AKILU STREET, QUEEN AMINA STREET, SULEIMAN BARAU STREET, IBRAHIM TAYO STREET, DSS QTR, PART OF QUEEN ELIZABETH STREET | 2024-05-06: 23
132KV APO T/S_33KV FDR H5_R6_5A | ASOKORO | ASO ROCK | 2024-05-06: 23
132KV APO T/S_33KV FDR H5_R7_1B | ASOKORO | NNPC FILLING STATION AND ITS ENVIRONS | 2024-05-06: 24
132KV APO T/S_33KV FDR H5_R7_3A | ASOKORO | SANI ZANGO SREET, OLADUNI STREET, AYANGYKU STREET, ISMAILA STREET, GWARZO STREET, BABAGANA KINGIBE STREET | 2024-05-06: 24
132KV APO T/S_33KV FDR H5_R7_4A | ASOKORO | NASIRU ELRUFAI SREET, LARABA DAGASH STREET | 2024-05-06: 24
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD18 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD27 | ASOKORO | SGF | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD8 | ASOKORO | NOT IN CIRCUIT | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD26 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD10 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD4 | ASOKORO | NJC, SUPREME COURT | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD6 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R4_FD9 | ASOKORO | ASO ROCK | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_1B | ASOKORO | MOGADISHU BARRACK | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_2B | ASOKORO | DSS HQ | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_3A | ASOKORO | COMMAND GUEST HOUSE AND NAVAL HOLDING LIMITED | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_4B | ASOKORO | W.U BASSEY BARRACKS EXTENSION AND NIGER BARRACKS | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_5A | ASOKORO | NAOWA SECRETARIAT, DIA AND STATE HOUSE CLINICS | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV APO T/S_33KV FDR 33KV FDR H3_R5_6B | ASOKORO | ARMY WAR COLLEGE | 2024-05-06: 23 | Technical Fault | NOT RESOLVED
132KV CENTRAL AREA T/S_33KV FDR 6_C2_2B | MAITAMA | CUSTOM OFFICE, MURJANATU PLAZA | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_3A | MAITAMA | INEC, NEMA, DSTV, POWER HOUSE | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_4A | MAITAMA | NUC | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_5A | MAITAMA | IMANI ESTATE AND SHELL ESTATE | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_5B | MAITAMA | IMANI ESTATE & PRESIDENCY QTRS | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_6A | MAITAMA | ZAMBIA EMBASSY, A.A OIL, CONGO AND ETHIOPIAN EMBASSY | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_6B | MAITAMA | NCC AND KOREAN EMBASSY | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_8A | MAITAMA | GANA AND USMAN STREETS | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_9B | MAITAMA | CHINESE EMBASSY | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C4_3A | MAITAMA | EUPHRATES STREET, REAGENT SCHOOL, YORUBA MOSQUE, OAU QTR | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C4_3B | MAITAMA | PANAMA STREET, GANGES STREET | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C4_5A | MAITAMA | NILES STREET, MISSISSIPI STREET | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B5_1A | WUSE | ROCKVIEW HOTEL, CHELSEA HOTEL AND PMU | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B5_1B | WUSE | AP PLAZA, CHICKEN REPUBLIC, POLY PLAZA, EXCLUSIVE STORES | 2024-05-06: 20
132KV KATAMPE T/S_33KV WUSE II FDR_B5_2A | WUSE | KODA LINK,MINISTRY OF SOLID MINERALS,GLO SWITCH YARD, CUSTOM QTRS & AL-NUR MOSQUE | 2024-05-06: 20
132KV KATAMPE T/S_33KV WUSE II FDR_B5_2B | WUSE | OAU QTRS, POLY PLAZA, AP PLAZA & CHICKEN HOUSE | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B5_3A | WUSE | BIG BITE, LOBITO CRESCENT | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B5_3B | WUSE | AMIGO SUPERMART, ALBERT FURNITURE, BARCELONA HOTEL, HAMPTON APARTMENTS, DURBAN STREET, OTI CARPET, WUSE AREA OFFICE | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B52_1A | WUSE | NEMSA OFFICE & PARAKOU STREET | 2024-05-06: 22
132KV KATAMPE T/S_33KV WUSE II FDR_B52_1B | WUSE | MINISTER'S QUARTER MABUSHI AND ITS ENVIRONS | 2024-05-06: 22
132KV KATAMPE T/S_33KV WUSE II FDR_B52_2B | WUSE | TULIP PRESS, BUCHANA STREET, TALATU ESTATE, A-CLASS HOTEL, FCDA, MAP U AND FIRST BANK | 2024-05-06: 22
132KV KATAMPE T/S_33KV WUSE II FDR_B52_3A | WUSE | MONROVIA STREET, PECHEZ HOTEL, HOTEL DE HORIZON | 2024-05-06: 22 | Technical Fault | RESOLVED
132KV KATAMPE T/S_33KV WUSE II FDR_B52_3B | WUSE | DENISE HTEL, NJAMENA STREET, GOMBE JEWEL HOTEL, SIEMENS, DABRAS HOTEL, LIBREVILLE STREET, LUNGI STREET, AGAPE HOTEL, FCDA QTR, ILOBE FILLING STATION, UBA, GLO OFFICE | 2024-05-06: 22 | Technical Fault | NOT RESOLVED
132KV KATAMPE T/S_33KV WUSE II FDR_B52_4A | WUSE | BANEX HOTEL | 2024-05-06: 22
132KV KATAMPE T/S_33KV WUSE II FDR_B52_4B | WUSE | KUMASI STREET, AGADEZ STREET, TFC, PART OF DAR ES SALAAM, PART OF AMINU KANO CRESCENT | 2024-05-06: 22
132KV KUBWA T/S_33KV DAM FDR_K32_FD1 | DUTSE | LOWER USUMA DAM | 2024-05-06: 24
132KV KUBWA T/S_33KV DAM FDR_K32_FD2 | DUTSE | CAMP PUMPING AND STATION PLANT | 2024-05-06: 24
132KV KUBWA T/S_33KV DAM FDR_K32_FD3 | DUTSE | NEW TREATMENT PLANT | 2024-05-06: 24
132KV KATAMPE T/S_33KV MAITAMA FDR_C3_1A | MAITAMA | MAITAMA AREA OFFICE, HABIBA PLAZA, OSUN CRESCENT | 2024-05-06: 24
132KV KATAMPE T/S_33KV MAITAMA FDR_C3_3A | MAITAMA | YOBE STREET, RIO NEGRO STREET, MAITAMA EXTENTION, ZENITH BANK | 2024-05-06: 24
132KV KATAMPE T/S_33KV MAITAMA FDR_C3_5B | MAITAMA | DANUBE EXTENTION AND PART OF MAITAMA EXTENTION | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 5_G2_3B | GARKI | CHINESE EMBASSY | 2024-05-06: 23
132KV CENTRAL AREA T/S_33KV FDR 5_G42_FD5 | GARKI | IMO HOUSE, OWENA HOUSE, NACA, ECUMENICAL CENTRE, LABOUR HOUSE | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 5_ICC_FD2 | GARKI | INTERNATIONAL CONFERENCE CENTRE | 2024-05-06: 23
132KV KATAMPE T/S_33KV 9MOBILE FDR_PL_PL | LIFECAMP | 9MOBILE | 2024-05-06: 24
132KV APO T/S_33KV FDR H1_G24_FD2 | GARKI | NATIONAL HOSPITAL | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FD21 | GARKI | NATIONAL HOSPITAL STAFF QTR | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FD5 | GARKI | EUROPEAN UNION | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FD6 | GARKI | OANDO FILLING STATION, THE DOME, NATIONAL PLANNING COMMISSION | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FD7 | GARKI | MAIMUNA COMMUNICATION | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FDR 20 | GARKI | STREET LIGHT | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FDR 22 | GARKI | PAKISTAN, INDIA HIGH COMMISSION AND MALI EMBASSIES | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G24_FDR 23 | GARKI | SOUTH AFRICAN, RUSSIAN EMBASSY, ECWA CHURCH, EQUITORIAL EMBASSY, DANTATA AND SAWOE. | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD21 | GARKI | ENVOY HOTEL | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD23 | GARKI | NNPC, CATHOLIC CHURCH, BRAZIL, KENYA AND LIBYA EMBASSIES | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD3 | GARKI | TURKISH, SUDAN, EGYPT EMBASSIES | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD5 | GARKI | NIGER, GHANA, UGANDA EMBASSIES | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD7 | GARKI | UNITED NATION, BURKINA FASO, ZAMBIA AND CAMEROON EMBASSIES | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H11_G32_6A | GARKI | RITA LORI HOTEL, JERE STREET | 2024-05-06: 24
132KV APO T/S_33KV FDR H11_G32_5A | GARKI | CBN QTR, BIRNIN KEBBI STREET, FCDA QTRS, DRUM STIX | 2024-05-06: 24
132KV APO T/S_33KV FDR H11_G32_5B | GARKI | AIRFORCE QUARTERS, SURVEY GENERAL OFFICE, YALWURI STREET | 2024-05-06: 22
132KV APO T/S_33KV FDR H11_G32_7B | GARKI | GARKI AREA OFFICE OGIDI CLOSE, TREASURY HOUSE, CBN QTR, GARKI MODERN MARKET. | 2024-05-06: 24
132KV APO T/S_33KV FDR H2_G4_1A | GARKI | HAWTHORN SUITES | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H2_G4_2A | GARKI | NESRA, ARMY SECRETARIAT, AROCHUKWU STREET, OKEMESI STREET. | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H2_G4_3B | GARKI | POLICE CANTONMENT AND EFAB MALL | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H2_G4_4B | GARKI | BALARGY, CRESCENT, INTERGRITY COURT, OBANSANJO ESTATE, LILLY COURT | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H2_G4_6B | GARKI | SAHAD STORES, UNITY HOUSE, LARMODE HOTEL, DAN KANN HOUSE | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H37_S26_BEHIND TRANSMISSION | APO | BEHIND TRANSMISSION OFFICE. | 2024-05-06: 24
132KV APO T/S_33KV FDR H37_S26_K10 | APO | AEDC REGIONAL OFFICE APO, JIMENTA FILLING STATION, ZONE C DEFENCE QUARTERS, ZONE E EXTENSION | 2024-05-06: 22
132KV APO T/S_33KV FDR H37_S26_PARADISE ESTATE | APO | PARADISE ESTATE | 2024-05-06: 24
132KV GIS DAWAKI T/S_33KV FDR D2_M42_K14 | GWARINPA | PART OF 5TH AVENUE, FOREIGN AFFAIRS QUARTERS, DIAMOND BANK, KEYSTONE BANK, ZENITH BANK, 3RD AVENUE CORNERSHOP, PRIMARY SCHOOL, MIB PLAZA, ANGLICAN CHURCH ON 3RD AVENUE | 24 | 18 | 13 | 16 | 17 | 16 | Technical Fault | RESOLVED
132KV CENTRAL AREA T/S_33KV FDR 2_B33_10A | WUSE | FEDERAL SECRETARIAT | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 2_B33_10B | WUSE | PPPRA | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 2_B33_1B | WUSE | SHERATON HOTEL | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 2_B33_4B | WUSE | NEXIM BANK | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 2_B33_7A | WUSE | MTN MAST | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 2_B33_9B | WUSE | TRANSCORP | 2024-05-06: 24
132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_3B | WUSE | TAMARA GUEST, PART OF ZONE 3, FRSC, ABACHA ESTATE, YARADUA CENTER | 2024-05-06: 24
132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_4A | WUSE | ENERGY COMMISSION, NATIONAL MOSQUE, FRAIZER HOTEL, GRAND SQUARE | 2024-05-06: 24
132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_8B | WUSE | MINISTRY OF TRANSPORT AND ICAA PLAZA | 2024-05-06: 24
132KV KUKWABA T/S_33KV FDR L33_S25_EYE CLINIC | LOKOGOMA | EYE CLINIC | 2024-05-06: 24 | Technical Fault | NOT RESOLVED
132KV KUKWABA T/S_33KV FDR L33_S25_GV | LOKOGOMA | GAMES VILLAGE | 2024-05-06: 24 | Technical Fault | NOT RESOLVED
132KV KUKWABA T/S_33KV FDR L33_S25_INDOOR | LOKOGOMA | INDOOR COMPLEX | 2024-05-06: 24 | Technical Fault | NOT RESOLVED
132KV KUKWABA T/S_33KV FDR L33_S25_STADIUM MAIN | LOKOGOMA | MKO ABIOLA STADIUM | 2024-05-06: 24 | Technical Fault | NOT RESOLVED
132KV SULEJA T/S_33KV FIELD BASE FDR_FIELDBASE_SULEJA SMART FDR | SULEJA | GLOBAL BLOCK INDUSTRY, AHMIS, U.I DANDADA,MTN MAST, OPARA S/S, BLESSED IKD | 2024-05-06: 24
132KV APO T/S_33KV FDR H5_R2_FD9 | ASOKORO | JULIUS NYERERE, GEN HOSPITAL ASOKORO, FHA | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R2_FD17 | ASOKORO | GNASSINGBE EYADEMA & PART OF KWAME NKURUMAH | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R2_FD14 | ASOKORO | KWAME NKRUMAH, NELSON MANDELA, DESMOND TUTU | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H5_R7_2A | GUZAPE | BEHIND INJECTION SUBSTATION. | 2024-05-06: 24
132KV APO T/S_33KV FDR H5_R7_5B | GUZAPE | COZA CHURCH | 2024-05-06: 24
132KV APO T/S_33KV FDR H3_R4_FD3 | ASOKORO/MAITAMA | NASS ANNEX, ASO DRIVE & VILLA ENVIRON, NSA, IBB GOLF CLUB. | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H1_G25_FD2 | GARKI 1 | NAN, BOLINGO HOTEL, NAIC, ELIZADE & NBA | 2024-05-06: 20 | Technical Fault | RESOLVED
132KV CENTRAL AREA T/S_33KV FDR 5_G2_7A | GARKI 1 | FIRE SERVICE, POLICE FORCE CID, GATE WAY PLAZA, AFRI HOTEL & REVENUE MOBILIZATION | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV CENTRAL AREA T/S_33KV FDR 5_G2_8B | GARKI 1 | DEFENCE HQ | 2024-05-06: 23
132KV APO T/S_33KV FDR H2_G4_8A | GARKI 2 | PORT HARCOURT CRST, VICTORY PLAZA, TOP RANK HOTEL, ONITSHA STR. | 2024-05-06: 23 | Technical Fault | RESOLVED
132KV APO T/S_33KV FDR H2_G32_3B | GARKI 2 | UBIAJA STREET, KEFFI STREET & OZUBOLU STREET | 2024-05-06: 22
132KV APO T/S_33KV FDR H2_G32_2B | GARKI 2 | DSS QTRS, KALTUNGO STREET, KARAYE STREET, OKEAGBE STREET. | 2024-05-06: 24
132KV APO T/S_33KV FDR H2_G32_8B | GARKI 2 | KALTUNGO STR, CBN CLINIC, GARKI MALL, EDDYVIC HOTEL, DIAMOND BANK, UBA BANK, CHRISTIAN PILGRIMS BOARD, ZARIA STR, DAMATURU CRESCENT. | 2024-05-06: 20
132KV CENTRAL AREA T/S_33KV FDR 6_C2_2A | MAITAMA | AGIP OFFICE | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_7A | MAITAMA | FHA, YEDSTERAM STREET | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_7B | MAITAMA | LIMPOPO STREET & ENVIRONS | 2024-05-06: 24
132KV CENTRAL AREA T/S_33KV FDR 6_C2_1B | MAITAMA | HIGH COURT, NYSC, CAC. | 2024-05-06: 24
132KV KATAMPE T/S_33KV WUSE II FDR_B52_2A | WUSE 2 | ALEXANDERIA STREET, VILLA U, BERGER PLAZA, BERGER PAINT OFFICE, NDJAMENA SRT. | 2024-05-06: 22
132KV KATAMPE T/S_33KV WUSE II FDR_B5_4B | WUSE 2 | PANNIEL APARTMENT | 2024-05-06: 21
132KV KATAMPE T/S_33KV WUSE II FDR_B5_4A | WUSE 2 | ECWA CHURCH, BIG BARCELONA HOTEL, AIRWAVES, POPE JOHN PAUL CENTER, YALENGA, CBN QUARTERS, AND ENVIRON, DOGARA HOUSE, SENATOR ISAH RESIDENCE. | 2024-05-06: 21
132KV KATAMPE T/S_33KV MAITAMA FDR_C4_M/H | MAITAMA | BEHIND C4 INJECTION SUBSTATION, MINISTERS HILL OFF COLORADO. | 2024-05-06: 24
132KV AJAOKUTA T/S_33KV STEEL_PL_PL | AJAOKUTA | AJAOKUTA | 2024-05-06: 24
132KV AJAOKUTA T/S_33KV WEST AFRICA CERAMICS_PL_PL | AJAOKUTA | AJAOKUTA | 2024-05-06: 24
132KV AKWANGA T/S_33KV AKWANGA FDR_PL_PL | AKWANGA | AKWANGA | 2024-05-06: 24
132KV KONTAGORA T/S_33KV WATERWORKS FDR_PL_PL | KONTAGORA | KONTAGORA | 2024-05-06: 24
132KV MINNA T/S_33KV POWERHOUSE FDR_PL_PL | MINNA | MINNA | 2024-05-06: 24

## Sheet1 (hidden)
ON
OFF