## Feeders
S/N | FEEDER NAME | LOCATION |  |  |  | AVERAGE HOURS OF SUPPLY | POPULATION |  |  | PERFORMANCE |  |  | Industrial / Commercial Population | Projected Energy Demand (MW) | Installed Capacity (KVA) | Estimated Distribution Investment Cost (NGN) | Proposed Business Model
|  |  | LATITUDE | LONGITUDE | BAND |  | METERED | UNMETERED | TOTAL | Energy Billed (kWh) | Amount Billed (NGN) | Collection (NGN)
1 | AT4_NIPP FDR_NIPP_FDN2 | Kubwa, FCT | 9.1662 | 7.3271 | C | 12 | 4683 | 279 | 4962 | 551933 | 33114059.9633 | 16832996.4817 | 900 | 3 | 21000 | 32000000 | Embedded Generation
2 | LOKOJA_FDR 2 LOKOJA_LOKOJA MAIN_FD3 | Lokoja, Kogi | 7.8062 | 6.7488 | D | 11 | 1078 | 1520 | 2598 | 515887 | 19476045.5167 | 9995966.2583 | 220 | 6.7 | 36000 | 100000000 | Embedded Generation
3 | AT9_K1_A22_FD5 | Karu, FCT | 8.9972 | 7.5712 | B | 19 | 387 | 5 | 392 | 64558 | 4896239.68 | 2480398.84 | 20 | 0.2 | 3000 | 6000000 | Franchising
4 | AT8_FDR 2 (KEFFI)_K34_FD2 | Keffi, Nasarawa | 8.8396 | 7.8875 | D | 8 | 1415 | 3532 | 4947 | 1094146.6667 | 40003597.3033 | 20548871.985 | 410 | 5.68 | 23050 | 100000000 | Embedded Generation
5 | AT8_FDR 2 (KEFFI)_K34_FD3 | Keffi, Nasarawa | 8.8396 | 7.8875 | D | 8 | 2408 | 3359 | 5767 | 979622 | 39927420.9833 | 20453521.4917 | 573 | 5.03 | 27000 | 130000000 | Embedded Generation
6 | AT3_H21_E2_FD5 | Lugbe, FCT | 8.9836 | 7.3618 | C | 15 | 7313 | 430 | 7743 | 1176893.6667 | 78593808.6167 | 39885351.1417 | 693 | 5.19 | 2200 | 24000000 | Embedded Generation
7 | AT3_H21_E2_FD2 | Lugbe, FCT | 8.9836 | 7.3618 | C | 13 | 5283 | 207 | 5490 | 926605.3333 | 61504485.0533 | 31215545.1933 | 477 | 4.28 | 32450 | 15000000 | Franchising
8 | MINNA_POWER HOUSE FDR_POWERHOUSE_PIGGERY | Minna, Niger | 9.606 | 6.5538 | C | 13 | 1038 | 1702 | 2740 | 630230 | 23653957.8167 | 12142093.9083 | 356 | 2.3 | 14200 | 30000000 | Embedded Generation
9 | MINNA_T4_TS_SHIRORO | Minna, Niger | 9.5849 | 6.5398 | D | 12 | 558 | 74 | 632 | 116349.6667 | 5173570.87 | 2644960.2683 | 101 | 4 | 13650 | 80000000 | Embedded Generation
10 | MINNA_POWER HOUSE FDR_POWERHOUSE_MAITUMBI | Minna, Niger | 9.6059 | 6.5545 | C | 13 | 10833 | 15005 | 25838 | 6228539.6667 | 237635800.8167 | 121932170.2417 | 2886 | 5.3 | 21500 | 50000000 | Embedded Generation
11 | AT9_K5_J32_FD8 | Ado, Nasarawa | 9.0076 | 7.6553 | D | 8 | 1234 | 426 | 1660 | 132202.6667 | 5159153.4133 | 2645678.04 | 126 | 1.3 | 7000 | 120000000 | Embedded Generation
12 | AT4_DAWAKI FDR_T2_FD1 | Dutse, FCT | 9.1347 | 7.3663 | B | 18 | 3455 | 53 | 3508 | 255948.6667 | 18294935.1067 | 9275441.8867 | 432 | 4 | 75000 | 40000000 | Franchising